## Comp_Sub
FUNCTIONAL PLACEMENT
Components
Subsystem
Functionality
Undefined
hospital trends
Alarms based on performance
1 | Vital Sign input device | Patient Monitor Device |  | Collects raw data: |  | patience health analytics
|  |  | 1.1 | heart rate |  | patience recovery analysis
|  |  | 1.2 | blood pressure
|  |  | 1.3 | oxygen levels | c4model
|  |  | 1.4 | blood sugar
|  |  | 1.5 | respiration rate
|  |  | 1.6 | ECG
|  |  | 1.7 | body temperature |  | Medical records
|  |  | 1.8 | sleep (awake/sleep)
2 | Patient Signal Collector | Patient Data System (PDS)
|  |  | 2.1 | Collects raw data 1.1-1.8 per patient
|  |  | 2.2 | Process raw data per patient (1 record)
|  |  | 2.3 | 20 records available for 1 Nurse Station
|  |  | 2.4 | 20 Records available every < 1s
|  |  | 2.5 | Every Record on Screen every 5s
|  |  | 2.6 | 100 s (20 x 5s) time to show 20 Records
|  |  | 2.7 | Data recorded and Stored for 24hrs (history)
|  |  | 2.8 | Receive and Record 6.5 Data (Consolidated Data)
|  |  | 2.9 | Receive and Record 6.6 Data (APP Data)
3 | MonitorMe Dashboard | Nurse Station Visual
|  |  | 3.1 | Collects data from Patient Signal Collector
|  |  | 3.2 | 20 Records (20 patients data) and Store in Patient DB
|  |  | 3.3 | Display the data (Dashboard)
|  |  | 3.4 | filters by time and vital signal
|  |  | 3.5 | Through a GUI a user can access history data
4 | Snapshot Creator | Holistic Snapshot
|  |  | 4.1 | Enable to create Snapshot from Signal DB
|  |  | 4.2 | Access Consolidated Data from Signal DB
|  |  | 4.3 | Capable to upload Snapshot to MyMedical Data ( 10 )
|  |  | 4.4 | HTTPS API
5 | Signal Analyzer | Patient (A/S) Detect |  | Adjust Thresolds dependant on Patient A/S
Calculate A/S and VS threshold to patient record
|  |  | 5.1 | If Trend on Blood Presure drops -->Patient S
|  |  | 5.2 | (A/S) Blood Pressure Threshold calculated and SET
|  |  | 5.3 | if Patient S Alarms Adjusted.
|  |  | 5.3 | If Patient A Alarms Adjusted
|  |  | 5.4 | If Trend heart rate drops -->Patient S
|  |  | 5.5 | (A/S) Heart Rate Threshold calculated and SET
|  |  | 5.6 | if Patient S Alarms Adjusted.
|  |  | 5.7 | If Patient A Alarms Adjusted
|  |  | 5.8 | If Respiration Rate drops -->Patient S
|  |  | 5.9 | (A/S) Respiration Rate Threshold calculated and SET
|  |  | 5.1 | if Patient S Alarms Adjusted.
|  |  | 5.11 | If Patient A Alarms Adjusted
6 | Notification Event Channel | Monitoring&Alerting
|  |  | 6.1 | Monitor thresholds per patient (per record)
|  |  | 6.2 | Analize and Triggers Alerts (Notifications) to users
|  |  | 6.3 | Manage users who should recieve Notifications
|  |  | 6.4 | Build and Manages notifications to be sent to APP
|  |  | 6.5 | Build Consolidate Data to be sent to MonitorMe Dashboard
|  |  | 6.6 | Sent data to APP
|  |  | 6.7 | Send data to MonitorMe dashboard ( 3 )
7 | Analyze Rule Builder
|  |  | 7.1 | Collects Data from Signal Analyzer ( 5 )
|  |  | 7.2 | Send data to MonitorMe ( 9 )
8 | MonitorMe APP | MonitorMe APP
|  |  | 8.1 | Authentication of User
|  |  | 8.2 | Shows the Data
|  |  | 8.3 | Pulls the data from Notification Event Channel ( 6 )
9 |  | Authentication System
|  |  | 9.1 | Manage Users´ Passwords
|  |  | 9.2 | Manage MFA Authentication
|  |  | 9.3 | Manage Users profiles
|  |  | 9.4 | Manage
|  |  | 9.5 | Manages SSO per user
10 |  | BEFE
|  |  | 10.1 | Manages API for APP
|  |  | 10.2 | Manages API for: MyMedical Data
|  |  | 10.3 | Manage API for: My MonitorThem
|  |  | 10.1 | Manage API for: 3. Patient Data System

## other
MonitorMe
The Goal:
medical monitoring system
for Hopitals
to monitor vital signals using
using propriatory medical monitoring devices